## Instructions
There are tabs for...
HW Location - list any location where you will put a Control Panel, NVR, or Networking equipment. (Where things wire to...)
Reader - List all Readers: Prox, iClass, Person Reader, etc.., anything requiring a Mercury Reader Channel.
Monitoring Points - List any devices not associated with a reader portal, like Motion Detectors, Windows, Water Detection, etc..
Control Points - List any output devices not associated with a reader portal, like sounders or other annunciators.
Network - List anything requiring an IP Address including CCTV Head end.
Cameras - List as much camera detail as possible.
There is a notes column at the end of every row to allow for more detail if needed.

## Readers
List Any Readers by Name - Include the location of the panel it wires back to
List in and out readers for the same portal separately as IN or OUT
Reader Name | Control Panel Loc | Fail Safe or Secure | Release time in Seconds | DPS Switch (NO/NC) | REX (NO/NC) | Person Reader | Notes
Sample | 1st FL IDF | Secure | 5 | NC | NO | Yes

## HW Locations
List any Locations where you will install any Access Panels, Video Servers, or Networking equipment
Location # | Name | Description
1 | 1st FL IDF | Sample
2
3
4
5
6
7
8
9

## Monitoring Points
List Any Monitoring Points by Name - Include the location of the panel they wire back to
Reader Name | Control Panel Loc | Loop (NO/NC) | Notes
Sample Monitor Point | 1st FL IDF | NC
0

## Control Points
List Any Control Points by Name - Include the location of the panel it wires back to
Reader Name | Control Panel Loc | Passive State (NO/NC) | Notes
Sample Control Point | 1st FL IDF | NO

## Network
List all Network Hardware or Networked Devices and their IP addresses - Exclude Cameras
Device | Name | Location | IP Address | Subnet Mask | Gateway IP | DNS1 | DNS2 | Notes

## Cameras
Record as much information as possible for the Cameras
Camera Name | Model | Description | MAC Addr - no spaces | Type (Dome/Std) | Login | Password | Recording Server | IP Address | Subnet Mask | Gateway IP | DNS1 | DNS2 | Notes
Main Ent | Axis P3343 | Under Portico View | 123456789ABC | Dome | root | 1234Easy | WTC-NVS1 | 192.168.2.101 | 255.255.0.0 | 192.168.0.1 | 192.168.0.1 | 8.8.8.8

## Elevator Matrix
| Low rise | [5 empty] | High Rise | [5 empty] | FRT | Shuttle
Floor | Cab 1 | Cab 2 | Cab 3 | Cab 4 | Cab 5 | Cab 6 | Cab 7 | Cab 8 | Cab 9 | Cab 10 | Cab 11 | Cab 12 | FRT 13 | Cab 14
LL | bar: FRT FRT 13 to Shuttle Cab 14
1 | bar: Low rise Cab 1 to Shuttle Cab 14
M | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
2 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
3 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
4 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
5 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
6 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
7 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
8 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
9 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
10 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
11 | bar: Low rise Cab 1 to Low rise Cab 6; FRT FRT 13
12 | bar: High Rise Cab 7 to FRT FRT 13
13 | bar: High Rise Cab 7 to FRT FRT 13
14 | bar: High Rise Cab 7 to FRT FRT 13
15 | bar: High Rise Cab 7 to FRT FRT 13
16 | bar: High Rise Cab 7 to FRT FRT 13
17 | bar: High Rise Cab 7 to FRT FRT 13
18 | bar: High Rise Cab 7 to FRT FRT 13
19 | bar: High Rise Cab 7 to FRT FRT 13
20 | bar: High Rise Cab 7 to FRT FRT 13
21 | bar: High Rise Cab 7 to FRT FRT 13
22 | bar: High Rise Cab 7 to FRT FRT 13
23 | bar: High Rise Cab 7 to FRT FRT 13

## Cab and Floor Names
Elev Cabs | Names
Cab 1
Cab 2
Cab 3
Cab 4
Cab 5
Cab 6
Cab 7
Cab 8
Cab 9
Cab 10
Cab 11
Cab 12
Frt 13
Cab 14
Floors | Floor Names
LL
1
Mezz
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23